_04_ELC4340_Spring13_Balanced_Three_Phase_Phasors.doc

Three Important Properties of Balanced Three-Phase Systems

First, some trigonometry identities:
· cos(A – B) = cos(A)cos(B) + sin(A)sin(B)

· cos(A + B) = cos(A)cos(B) – sin(A)sin(B)

· sin(A – B) = sin(A)cos(B) – cos(A)sin(B)

· sin(A + B) = sin(A)cos(B) + cos(A)sin(B)

Property 1.  Because they form a balanced set, the a-b-c currents sum to zero.  Thus, there is no return current through the neutral or ground, which reduces wiring losses.

· 
[image: image1.wmf])

cos(

)

(

q

w

+

=

t

I

t

i

a

, 
[image: image2.wmf])

120

cos(

)

(

°

-

+

=

q

w

t

I

t

i

b

, 
[image: image3.wmf])

120

cos(

)

(

°

+

+

=

q

w

t

I

t

i

c

,

· 
[image: image4.wmf][

]

)

120

cos(

)

120

cos(

)

cos(

)

(

)

(

)

(

)

(

°

+

+

+

°

-

+

+

+

=

+

+

=

q

w

q

w

q

w

t

t

t

I

t

i

t

i

t

i

t

i

c

b

a

N

,

· 
[image: image5.wmf][

)

sin(

)

sin(

)

cos(

)

cos(

2

)

(

q

w

q

w

t

t

I

t

i

N

-

=



[image: image6.wmf])

120

sin(

)

sin(

)

120

cos(

)

cos(

°

-

-

°

-

+

q

w

q

w

t

t



[image: image7.wmf]]

)

120

sin(

)

sin(

)

120

cos(

)

cos(

°

+

-

°

+

+

q

w

q

w

t

t

,

· 
[image: image8.wmf][

)

sin(

)

sin(

)

cos(

)

cos(

2

)

(

q

w

q

w

t

t

I

t

i

N

-

=



[image: image9.wmf][

]

[

]

)

120

sin(

)

cos(

)

120

cos(

)

sin(

)

sin(

)

120

sin(

)

sin(

)

120

cos(

)

cos(

)

cos(

°

-

°

-

°

+

°

+

q

q

w

q

q

w

t

t



[image: image10.wmf][

]

[

]

]

)

120

sin(

)

cos(

)

120

cos(

)

sin(

)

sin(

)

120

sin(

)

sin(

)

120

cos(

)

cos(

)

cos(

°

+

°

-

°

-

°

+

q

q

w

q

q

w

t

t

,

· 
[image: image11.wmf][

]

[

]

{

}

)

120

sin(

)

120

sin(

)

sin(

)

120

cos(

)

120

cos(

1

)

cos(

)

cos(

2

)

(

°

-

°

+

°

+

°

+

=

q

q

w

t

I

t

i

N



[image: image12.wmf][

]

[

]

{

}

)

120

sin(

)

120

sin(

)

cos(

)

120

cos(

)

120

cos(

1

)

sin(

)

sin(

2

°

-

°

-

°

+

°

+

-

q

q

w

t

I

,

· 
[image: image13.wmf]ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

û

ù

ê

ë

é

-

+

ú

û

ù

ê

ë

é

-

-

=

2

3

2

3

)

sin(

2

1

2

1

1

)

cos(

)

cos(

2

)

(

q

q

w

t

I

t

i

N



[image: image14.wmf]ï

þ

ï

ý

ü

ï

î

ï

í

ì

ú

û

ù

ê

ë

é

-

-

ú

û

ù

ê

ë

é

-

-

-

2

3

2

3

)

cos(

2

1

2

1

1

)

sin(

)

sin(

2

q

q

w

t

I

.

Thus 
[image: image15.wmf]0

)

(

=

t

i

N

.

Property 2.  An N-wire system needs (N – 1) meters.  A three-phase, four-wire system needs three meters.  A three-phase, three-wire system needs only two meters.

[image: image40.wmf]3


· 
[image: image16.wmf])

(

)

(

)

(

)

(

t

p

t

p

t

p

t

p

c

b

a

tot

+

+

=

,


[image: image17.wmf])

(

)

(

)

(

)

(

)

(

)

(

)

(

)

(

,

,

,

,

t

i

t

v

t

i

t

v

t

i

t

v

t

i

t

v

n

ref

n

c

ref

c

b

ref

b

a

ref

a

+

+

+

=

,

· 
[image: image18.wmf])

(

)

(

)

(

)

(

t

i

t

i

t

i

t

i

c

b

a

n

-

-

-

=

,

· 
[image: image19.wmf])

(

)

(

)

(

)

(

)

(

)

(

)

(

,

,

,

t

i

t

v

t

i

t

v

t

i

t

v

t

p

c

ref

c

b

ref

b

a

ref

a

tot

+

+

=



[image: image20.wmf](

)

)

(

)

(

)

(

)

(

,

t

i

t

i

t

i

t

v

c

b

a

ref

n

-

-

-

+

,

· 
[image: image21.wmf](

)

(

)

(

)

)

(

)

(

)

(

)

(

)

(

)

(

)

(

)

(

)

(

)

(

,

,

,

,

,

,

t

i

t

v

t

v

t

i

t

v

t

v

t

i

t

v

t

v

t

p

c

ref

n

ref

c

b

ref

n

ref

b

a

ref

n

ref

a

tot

-

+

-

+

-

=

.

Thus, for three-phase, four-wire, three wattmeters are needed to compute

· 
[image: image22.wmf])

(

)

(

)

(

)

(

)

(

)

(

)

(

t

i

t

v

t

i

t

v

t

i

t

v

t

p

c

cn

b

bn

a

an

tot

+

+

=

.

For three-phase, three-wire, the neutral wire is not present.  Thus, 

· 
[image: image23.wmf])

(

)

(

)

(

t

i

t

i

t

i

b

a

c

-

-

=

,

and letting phase c become the reference, then 

· 
[image: image24.wmf](

)

)

(

)

(

)

(

)

(

)

(

)

(

)

(

)

(

t

i

t

i

t

v

t

i

t

v

t

i

t

v

t

p

b

a

cn

b

bn

a

an

tot

-

-

+

+

=

,

· 
[image: image25.wmf](

)

(

)

)

(

)

(

)

(

)

(

)

(

)

(

)

(

t

i

t

v

t

v

t

i

t

v

t

v

t

p

b

cn

bn

a

cn

an

tot

-

+

-

=

.

Thus, for three-phase, three-wire, two wattmeters are needed to compute

· 
[image: image26.wmf])

(

)

(

)

(

)

(

)

(

t

i

t

v

t

i

t

v

t

p

b

bc

a

ac

tot

+

=

.

More trigonometry identities:
· 
[image: image27.wmf][

]

)

cos(

)

cos(

2

1

)

cos(

)

cos(

B

A

B

A

B

A

+

+

-

=


· 
[image: image28.wmf][

]

)

cos(

)

cos(

2

1

)

sin(

)

sin(

B

A

B

A

B

A

+

-

-

=


Property 3.  The instantaneous power is constant

· 
[image: image29.wmf])

cos(

)

(

d

w

+

=

t

V

t

v

a

, 
[image: image30.wmf])

120

cos(

)

(

°

-

+

=

d

w

t

V

t

v

b

, 
[image: image31.wmf])

120

cos(

)

(

°

+

+

=

d

w

t

V

t

v

c

,

· 
[image: image32.wmf])

(

)

(

)

(

)

(

t

p

t

p

t

p

t

p

c

b

a

tot

+

+

=

,


[image: image33.wmf][

)

120

cos(

)

120

cos(

)

cos(

)

cos(

°

-

+

°

-

+

+

+

+

=

q

w

d

w

q

w

d

w

t

t

t

t

VI



[image: image34.wmf]]

)

120

cos(

)

120

cos(

°

+

+

°

+

+

+

q

w

d

w

t

t

,


[image: image35.wmf][

)

240

2

cos(

)

cos(

)

2

cos(

)

cos(

2

°

-

+

+

+

-

+

+

+

+

-

=

q

d

w

q

d

q

d

w

q

d

t

t

VI



[image: image36.wmf]]

)

240

2

cos(

)

cos(

°

+

+

+

+

-

+

q

d

w

q

d

t

,


[image: image37.wmf][

]

)

120

2

cos(

)

120

2

cos(

)

2

cos(

2

)

cos(

2

3

°

-

+

+

+

°

+

+

+

+

+

+

+

-

=

q

d

w

q

d

w

q

d

w

q

d

t

t

t

VI

VI

.

The terms in side the bracket form a balanced set, and thus equal zero.  Thus, 
[image: image38.wmf])

(

t

p

tot

 is a constant and equals its average value, which is

· 
[image: image39.wmf])

cos(

3

)

cos(

2

3

)

(

)

(

)

(

)

(

q

d

q

d

-

=

-

=

+

+

=

rms

rms

c

b

a

tot

I

V

VI

t

p

t

p

t

p

t

p

.

[image: image41.wmf]3

1

[image: image42.wmf]3











Three-phase, four wire system





a


b


c


n





Reference





Three-Phase Balanced Phasors





The phasors are rotating counter-clockwise.


The magnitude of line-to-line voltage phasors is � EMBED Equation.3  ��� times the magnitude of line-to-neutral voltage phasors.





Vbn





Vab = Van – Vbn





Vbc =


Vbn – Vcn





Van





Vcn





30°





120°





Imaginary





Real





Vca = Vcn – Van





Conservation of power requires that the magnitudes of delta currents Iab, Ica, and Ibc are � EMBED Equation.3  ��� times the magnitude of line currents Ia, Ib, Ic.





Van





Vbn





Vcn





Real





Imaginary





Vab = Van – Vbn





Vbc =


Vbn – Vcn





30°





Vca = Vcn – Van





Ia





Ib





Ic





Iab





Ibc





Ica





Ib





Ic





Iab





Ica





Ibc





Ia





a





c





b





–                    Vab                    +





Balanced Sets Add to Zero in Both


Time and Phasor Domains





Ia + Ib + Ic = 0





Van + Vbn + Vcn = 0





Vab + Vbc + Vca = 0





Line currents Ia, Ib, and Ic





Delta currents Iab, Ibc, and Ica





The Two Above Loads are Equivalent in Balanced Systems


(i.e., same line currents Ia, Ib, Ic and phase-to-phase voltages Vab, Vbc, Vca in both cases)





3Z





3Z





3Z





a





c





b





–                    Vab                    +





Ia





Ib





Ic





Z





Z





Z





a





c





b





–                        Vab                       +





Ia





Ib





Ic





n





The Two Above Sources are Equivalent in Balanced Systems


(i.e., same line currents Ia, Ib, Ic and phase-to-phase voltages Vab, Vbc, Vca in both cases)





a





c





b





–                    Vab                    +





Ia





Ib





Ic





Van





a





c





b





–                        Vab                       +





Ia





Ib





Ic





n





+





–





Z





Z





Z





a





b





–                        Vab                       +





Ia





Ib





Ic





c





n





In





KCL:  In = Ia + Ib + Ic





But for a balanced set,


Ia + Ib + Ic = 0, so In = 0





Ground (i.e., V = 0)





The Experiment:  Opening and closing the switch has no effect because In is already zero for a three-phase balanced set.  Since no current flows, even if there is a resistance in the grounding path, we must conclude that Vn = 0 at the neutral point (or equivalent neutral point) of any balanced three phase load or source in a balanced system.  This allows us to draw a “one-line” diagram (typically for phase a) and solve a single-phase problem.  Solutions for phases b and c follow from the phase shifts that must exist.





a





n





a





n





Zload





+


Van


–





Zline





Ia





a





c





b





–                    Vab                    +





3Zload





a





c





b





Ib





Ia





Ic





Zline





Zline





Zline





3Zload





3Zload





The “One-Line” Diagram





Balanced three-phase systems, no matter if they are delta connected, wye connected, or a mix, are easy to solve if you follow these steps:


Convert the entire circuit to an equivalent wye with a grounded neutral.


Draw the one-line diagram for phase a, recognizing that phase a has one third of the P and Q.


Solve the one-line diagram for line-to-neutral voltages and line currents.


If needed, compute line-to-neutral voltages and line currents for phases b and c using the ±120° relationships.


If needed, compute line-to-line voltages and delta currents using the � EMBED Equation.3  ��� and ±30° relationships.








Page 1 of 9

_1210011366.unknown

_1210013909.unknown

_1210014112.unknown

_1210014533.unknown

_1210014736.unknown

_1210049614.unknown

_1210049677.unknown

_1210049875.unknown

_1210049627.unknown

_1210049482.unknown

_1210014559.unknown

_1210014369.unknown

_1210014418.unknown

_1210014327.unknown

_1210013980.unknown

_1210013986.unknown

_1210013951.unknown

_1210011734.unknown

_1210011978.unknown

_1210012679.unknown

_1210013883.unknown

_1210013894.unknown

_1210013861.unknown

_1210012653.unknown

_1210011803.unknown

_1210011453.unknown

_1210011454.unknown

_1210011452.unknown

_1210011338.unknown

_1210011347.unknown

_1210011360.unknown

_1210011343.unknown

_1210009706.unknown

_1210010317.unknown

_1210011314.unknown

_1210011332.unknown

_1210011156.unknown

_1210010070.unknown

_1130603487.unknown

_1210009691.unknown

_1131707709.unknown

_1130173146.unknown

