
_19_ELC4340_Spring13_PCFLO_V6_User_Manual.doc

1.  Summary of PCFLO Files

Input (note – any lines in input files that begin with a colon in column 1 are treated as comments and are skipped)
· ADAT.CSV:  Loadflow area input data.  (PCFLO also creates temporary file ADAT.TMP)

· BDAT.CSV:  Bus data.

· LDAT.CSV:  Line and transformer data.

· OPTIONS.CSV:  Solution options.

· SPECTRA.CSV:  User-specified harmonic current injection spectra.  (PCFLO also creates temporary file SPECTRA.TMP)

Output

· ASOLN.CSV:  Solved area data for loadflows.

· BORDER.CSV:  File built by PCFLO that lists the busses in optimal order.

· EXLOG.CSV:  Echo print of screen messages.

· FREP.TXT:  Output of program FAULTS.

· HPA_LAST_CASE.CSV, HPA_SUMMARY.CSV.  Output of harmonic power analyzer program HPA.

· ISOLN.CSV, VSOLN.CSV:  Solved branch currents and bus voltages for loadflow and harmonics studies.  (Sine series format for Fourier series)

· OUT1.CSV, OUT2.CSV, OUT3.CSV:  Echo print of input data for loadflow, short circuit, and harmonics, along with pertinent messages and errors.

· OUT4.CSV:  Full loadflow output data (if requested).

· OUT5.CSV:  Loadflow summary output used for analyzing the impact of power transactions across a power grid.

· THDV.CSV, THDI.CSV:  Solved total harmonic voltage and current distortions for harmonics studies.

· ZBUS0.CSV, ZBUS1.CSV, ZBUS2.CSV:  Solved zero/positive/negative impedance matrix elements for short circuit (in rectangular form) or harmonic studies (in polar form), in per unit.

Temporary Files Created During Execution
· BDAT.TMP:  Unformatted bus data file built by PCFLO and read by FAULTS.

· FFREP1.TXT, FFREP2.TXT, FFREP3.TXT.  Temporarly files used during short circuit studies (produced by program FAULTS)

· LDAT.TMP:  Unformatted line and transformer data file built by PCFLO and read by FAULTS.
· SPECTRA.TMP:  Temporary file built by PCFLO during harmonic studies.
2.  Prepared Cases, Ready to Run
Loadflow

· 5 Bus Stevenson* Loadflow Example, pp. 200-205.  File Extension _S5.

· 4860 Bus Loadflow Case.  File Extension _SCREWBEAN.  Used for power grid studies.
Short Circuit
· 6 Bus Grainger-Stevenson** Short Circuit Example (Prob. 3.12, p. 139, and continued with Prob. 11.17, p. 469).  File Extension _S6
· 9 Bus Grainger-Stevenson** Short Circuit Example (Prob. 3.13, pp. 139-140, and continued with Prob. 11.18, p. 469).  File Extension _S9.
Harmonics
· 5 Bus Tutorial.  File Extensions _FIVE and _FIVE_FILTER.

· 33 Bus ASD Example.  File Extension _DFW.

· 18 Bus Oil Pipeline ASD Example.  File Extension _PIPELINE.

· 111 Bus 3rd Harmonic Resonance Example.  File Extension _TV.

· 17 Bus Small Ski Area Example.  File Extensions _SKIA, _SKIB, _SKIC.

· 454 Bus Large Ski Area Example.  File Extensions _OLYMPICS_A (unfiltered), _OLYMPICS_D (filtered).

· 87 Bus Distribution Example with 3rd Harmonic Problem Due to Single-Phase Loads.  File Extension _PC.

*
William D. Stevenson, Jr., Elements of Power System Analysis, Fourth Edition, McGraw-Hill, New York, 1982.

**
John J. Grainger, William D. Stevenson, Jr., Power System Analysis, McGraw-Hill, New York, 1994.

3.  Content of Input Data Files

BUS DATA

(File = BDAT.CSV, one record per bus.  CSV format)

Variable
Comments

Number
Integer
Name
Up to 12 characters
Type
1 = Swing Bus


2 = PV Bus


3 = PQ Bus

Linear P Generation
Percent

Linear Q Generation
Percent

Linear P Load
Percent

Linear Q Load
Percent

Desired Voltage
Per unit
Shunt Reactive Q Load
Percent @ voltage = 1 per unit
Maximum Q Generation
Percent

Minimum Q Generation
Percent

Control Area
Integer
Remote-Controlled Bus Number

Used for controlling voltage at a remote bus.  For these


cases, the desired voltage specified above applies to the


remote bus.

Connection Type for Shunt Reactive Q Load
0 or 1 = Grounded Wye.


Otherwise, ungrounded wye or delta (i.e. no zero 


sequence path)

Subtransient R, X (Pos. Sequence)
Series impedance of motor or generator, in per unit
Subtransient R, X (Neg. Sequence)
Series impedance of motor or generator, in per unit
Subtransient R, X (Zero Sequence)
Series impedance of motor or generator, in per unit

 (ignoring connection type and grounding impedances)


 (do not multiply by 3)

Connection Type for Subtransient Impedances
0 or 1 = Grounded Wye.


Otherwise, ungrounded wye or delta (i.e. no zero 


sequence path)

Grounding Impedance R, X for Sub-
Series impedance from wye point to ground, in per unit.

Transient Impedances
(do not multiply by 3).

Nonlinear Device P Generation
P Generation that comes from the nonlinear device,


in percent.

Nonlinear Device P Load
P Load of the nonlinear device,


in percent.

Nonlinear Device Displacement Power Factor
Per Unit (positive for lagging is positive, negative for


leading).

Nonlinear Device Type
1
=
 2-pulse current source


2
=
 2-pulse voltage source


3
= 
6-pulse current source


4
= 
6-pulse voltage source


5
=
 12-pulse current source


6
=
 12-pulse voltage source


7
=
 18-pulse current source


8
=
 18-pulse voltage source


9
=
 Diversified 6-pulse current source  (like


type 3, but with the 11 & 13th harmonics


multiplied by 0.75, the 17 & 19th harmonics


by 0.50, and all higher harmonics by 0.25)


10
=
 Single-phase electronic GY-GY 


11
=
 Single-phase electronic Delta-GY


12
= 
Magnetic fluorescent GY-GY


13
= 
Magnetic fluorescent Delta-GY


14
= 
User-specified type 14


. . .


. . .


. . .


33
=
 User-specified type 33

Nonlinear Device Phase Shift

Degrees for positive sequence, on system side with



respect to device side.  This is the additional phase shift


by which the current injection phase angles will be


advanced for positive sequence, and delayed for


negative sequence.

Connection Type for Harmonics Model
0 or 1 = Grounded Wye.  Otherwise, ungrounded wye

of Linear Load
or delta (i.e. no zero sequence path)

CSV Header and Structure for Input File BDAT.CSV (using sample file BDAT_HEADER.csv)

[image: image1.emf]:Bus Data

:

: Linear Linear Linear Linear Shunt Maximum

: P Q P Q Desired Reactive Q 

:Bus Bus Bus GenerationGenerationLoad Load Voltage Q Load Generation

:Number Name Type (%) (%) (%) (%) (pu) (%) (%)

:(I) (A) (I) (F) (F) (F) (F) (F) (F) (F)


continuing across,

[image: image2.emf]Connection Positive Positive Negative Negative Zero Zero

Minimum Type for Sequence Sequence Sequence Sequence Sequence Sequence

Q  Bus Remote- Shunt SubtransientSubtransientSubtransientSubtransientSubtransientSubtransient

GenerationControl ControlledReactive R X R X R X

(%) Area Bus No. Q Load (pu) (pu) (pu) (pu) (pu) (pu)

(F) (I) (I) (I) (F) (F) (F) (F) (F) (F)


continuing across,

[image: image3.emf]Grounding Grounding

Impedance Impedance Nonlinear Nonlinear Nonlinear

Connection R for X for Device Device Device Nonlinear Linear

Type for SubtransientSubtransientP P DisplacementNonlinear Device Load

SubtransientImpedancesImpedancesGen Load Power Factor Device Phase ShiftConnection

R and X (pu) (pu) (%) (%) (pu) Type (Degrees) Type

(I) (F) (F) (F) (F) (F) (I) (F) (I)


LINE AND TRANSFORMER DATA

(File = LDAT.CSV, one record per branch.  CSV format)

Variable
Comments

FROM BUS Number
Integer (or blank if neutral)
TO BUS Number
Integer (or blank, if neutral)
Circuit Number
Integer (or blank)
R, X (Positive/Negative Sequence)
Series impedance, in per unit
Charging (Positive/Negative Sequence)
Percent, for entire length of line

Rating
Percent

Minimum Tap, or Minimum Phase Shift Angle
Per unit tap, or degrees, FROM BUS side


wrt. TO BUS side

Maximum Tap, or Maximum Phase Shift Angle
Per unit tap, or degrees, on FROM BUS side


wrt. TO BUS side

Tap Step Size, or Phase Shift Step Size
Per unit, or degrees

Tap
Per unit, on FROM BUS side

Phase Shift
Degrees, FROM BUS side wrt. TO BUS side

Voltage-Controlled Bus Number
Used for controlling voltage at a remote bus.  For these


cases, the desired voltage specified applies to the


remote bus.

Voltage-Controlled Bus Side
When controlling the voltage at a remote bus, enter 1 


when the remote bus is on the FROM BUS side of the 


transformer.  Enter 2 when the remote bus is on the 


TO BUS side of the transformer.

Desired Voltage for Voltage-Controlled Bus,
Per unit Voltage, or Percent Active Power (FROM BUS

or Desired Active Power Flow for Phase
toward TO BUS)

Shifting Transformer

R, X (Zero Sequence)
Series impedance, in per unit (ignoring connection type 


and grounding impedances), (do not multiply by 3)

Charging (Zero Sequence)
Percent, for entire length of line

Connection Type for Transformers and
For transformers:

Shunt Elements
Type
FROM BUS
TO BUS


0 or 1
GY
GY


2
GY
Y


3
Y
GY


4
Y
Y


5



6
GY


7
Y


8

GY


9

Y


For shunt elements:


0 or 1 = Grounded Wye.


Otherwise, ungrounded wye or delta (i.e. no zero 


sequence path)

Grounding Impedance R, X
Series impedance from wye point to ground, in per unit

Applies to wye-connected transformers and shunt 


elements.  (do not multiply by 3)

Resistive Skin Effect Factor for 
Harmonic h (h > 2, fractional values OK) at which

Positive/Negative Sequence
the conductor resistance is double the fundamental


frequency resistance.

Resistive Skin Effect Factor for 
Harmonic h (h > 2, fractional values OK) at which

Zero Sequence
the conductor resistance is double the fundamental


frequency resistance.  This value applies to the 


combined conductor and grounding resistance.

Header and Structure for Input File LDAT.CSV (using sample file LDAT_HEADER.csv)

[image: image4.emf]:Line and Transformer Data

:

:

:

: Positive Positive Pos/Neg

: SequenceSequenceSequence Minimum MaximumTap Fixed

:From To Circuit R X Charging Rating Tap Tap Step SizeTap

:Bus Bus Number (pu) (pu) (%) (%) (pu) (pu) (pu) (pu)

:(I) (I) (I) (F) (F) (F) (F) (F) (F) (F) (F)


continuing across,


[image: image5.emf]Desired Voltage

at Voltage

Cont. Bus

(pu) Connect.

Voltage- Voltage- or Desired P Zero Zero Zero Type Series Series

Phase Cont. Cont. for SequenceSequenceSequencefor Trans. GroundingGrounding

Shift Bus Bus Phase Shifter R X Charging and ShuntR X

(Degrees)Number Side (%) (pu) (pu) (%) Elements(pu) (pu)

(F) (I) (I) (F) (F) (F) (F) (I) (F) (F)


AREA INTERCHANGE DATA

(File = ADAT.CSV, one record per loadflow area.  CSV format)

Variable
Comments

Number
Integer
Tie-Line Loss Assignment
If non-zero, then power losses on tie lines are assigned


equally between the two areas.  If zero, the TO BUS


area for each tie line is assigned the loss (i.e., meter at


the FROM BUS).

Control Bus Number
Integer
Desired Export Power
Percent

Solution Tolerance for Export
Percent

Name
Up to 20 characters
Header and Structure for Input File ADAT.CSV (using sample file ADAT_HEADER.csv)

[image: image6.emf]:Area Interchange Data

: Tie Line

: Loss

: Assignm.

: (1 for

: Splitting, Desired Solution

: 0 for To Control Export Tolerance

:Area Bus Bus Power for ExportArea

:Number OwnershipNumber (%) (%) Name

:(I) (I) (I) (F) (F) (A)


USER-SPECIFIED HARMONIC CURRENT SPECTRAL DATA

(File = SPECTRA.CSV, one record per harmonic per nonlinear load type.  CSV format)

Variable
Comments

Type of Series
Must be sin for a sine series, cos for a cosine series.


All entries in this file must be either sin, or cos, and


cannot be mixed.

Nonlinear Load Type
Must be 14, 15, 16, . . . , 33.

Harmonic Order
1, 2, 3, etc.

Current Harmonic Magnitude
Per unit.  If the fundamental is given, its magnitude


must be 1.0, and the other harmonic magnitudes for


the same nonlinear load type are assumed to be relative


to 1.0.  The actual injection currents will be scaled


according to bus load/generation.


Important:  If the fundamental is not given for a nonlinear load


type, then the harmonic magnitudes are assumed to be


given on the system base, rather than as a fraction of the P for that bus.

Current Harmonic Phase Angle
Degrees, using load current convention.  If the


fundamental angle is given, it must be 0.0.  The actual


phase angles will be adjusted internally according to


bus power factor and fundamental voltage angle.


If the fundamental is not given, the phase angles are


assumed to be given with respect to the bus


fundamental frequency voltage phase angle.

Header and Structure for Input File SPECTRA.CSV (using sample file SPECTRA_HEADER.csv)

[image: image7.emf]:Harmonic Current Spectral Data

: Current

:Type of Current Harmonic

:Series Nonlinear HarmonicHarmonicPhase

:(SIN or Load Order Mag. Angle

:COS) Type (Integer) (pu) (Degrees)

:(A) (I) (I) (F) (F)


SOLUTION OPTIONS

(File = OPTIONS.CSV.  CSV format.)

For Loadflow (using sample file OPTIONS_HEADER_LOADFLOW.csv)

[image: image8.emf]Loadflow Study Case - User Title Goes on This Line

:Loadflow Solution Options

: Voltage Disable

:Optimal P & Q Accel. Update Disable Transf.

:Bus MismatchFactor Cap P & Q Remote Disable Ignore Tap

:Ordering Gauss- for Gauss-for Gauss-for Gauss-MismatchVolt. Reg.Area Q Limits Adjust. for

:Method Seidel Seidel Seidel Seidel Solution by PV Intrchnge on PV Voltage

:(Integer) Start? Start Start Start ToleranceBusses? P Adjust?Busses? Control?

:(1-2-3) (T or F) (0.5 pu) (1.2 pu) (0.005 pu)(5E-06 pu)(T or F) (T or F) (T or F) (T or F)

:(I) (L) (F) (F) (F) (F) (L) (L) (L) (L)

2T 0.5 1.2 0.005 5.00E-06F F F F


continuing across,

[image: image9.emf]Limit

Output and and and and

to This This This This This

Control Control Control Control Control

Area? Area? Area? Area? Area?

(Integer) (Integer) (Integer) (Integer) (Integer)

(I) (I) (I) (I) (I)

0 0 0 0 0


For Short Circuit (using sample file OPTIONS_HEADER_SHORT_CIRCUIT.csv)

[image: image10.emf]Short Circuit Study Case - User Title Goes on This Line

:Short Circuit Solution Options

:Optimal

:Bus

:Ordering

:Method Enter T for Diagonal and Neighbor ZBUS Elements Only (recommended)

:(Integer) Enter F for All ZBUS Elements (not recommended and not to be followed by FAULTS)

:(1-2-3) (T or F)

:(I) (L)

2T


For Full Harmonic Solution (using sample file OPTIONS_HEADER_FULL_HARMONIC_SOLUTION.csv)

[image: image11.emf]Full Harmonic Solution Study Case - User Title Goes on This Line

:Full Harmonic Solution Options

:

: Harmonic Load Model  

:Optimal P & Q Accel. Update Highest for PQ Linear Loads Global

:Bus MismatchFactor Cap P & Q Harmonic0 or 1:  Resistive-only (recommended)Linear Global 

:Ordering Gauss- for Gauss-for Gauss-for Gauss-Mismatchof 2:  Parallel R & L Model Motor Resistance 

:Method Seidel Seidel Seidel Seidel Solution Interest 3:  Series R & L Model Load Doubling

:(Integer) Start? Start Start Start Tolerance(Integer) 4:  Ignore PQ Loads (i.e. No Model) Modeling Harmonic

:(1-2-3) (T or F) (0.5 pu) (1.2 pu) (0.005 pu)(5E-06 pu)(1 - 49) (0 - 4) Fraction (I)

:(I) (L) (F) (F) (F) (F) (I) (I) (F) (I)

2T 0.5 1.2 0.005 5.00E-06 25 1 0 15


For Harmonic Impedance Scan (using sample file OPTIONS_HEADER_HARMONIC_IMPEDANCE_SCAN.csv)

[image: image12.emf]Harmonic Impedance Scan Study Case - User Title Goes on This Line

:Harmonic Impedance Scan

:

:Optimal P & Q Accel. Update Lowest Highest Number  Limit the

:Bus MismatchFactor Cap P & Q HarmonicHarmonicof Steps Output to

:Ordering Gauss- for Gauss-for Gauss-for Gauss-Mismatchof of per Diagonal

:Method Seidel Seidel Seidel Seidel Solution Interest Interest HarmonicElements

:(Integer) Start? Start Start Start Tolerance(Integer) (Integer) (Integer) Only?

:(1-2-3) (T or F) (0.5 pu) (1.2 pu) (0.005 pu)(5E-06 pu)(1 - 49) (1 - 49) (1 - 100) (T or F)

:(I) (L) (F) (F) (F) (F) (I) (I) (I) (L)


continuing across,

[image: image13.emf]Harmonic Load Model  

for PQ Linear Loads Global

0 or 1:  Resistive-only (recommended)Linear Global 

Scan and and and and 2:  Parallel R & L Model Motor Resistance 

This This This This This 3:  Series R & L Model Load Doubling

Bus Bus Bus Bus Bus 4:  Ignore PQ Loads (i.e. No Model) Modeling Harmonic

(Integer) (Integer) (Integer) (Integer) (Integer) (0 - 4) Fraction (I)

(I) (I) (I) (I) (I) (I) (F) (I)


4.  Harmonic-Related and Short-Circuit Related Output Files

(Note - for loadflow studies, the formats of ISOLN and VSOLN are different from below but are self-explanatory when viewing the files.  For short circuit studies, the ZBUS files are similar to below, but written in rectangular form)

Commas separate the fields shown below to facilitate their use with Microsoft Excel.

ISOLN.CSV (for harmonics)
Data Field

(starting from

the left)

Description


1

Harmonic number


2

From bus number


3

To bus number


4

Circuit number


5

Current magnitude - per unit

6

Current phase angle (sine reference) - degrees


7

From bus name (at the first opportunity only)


8

To bus name (at the first opportunity only)


9

Loading level - percent of line rating (for




fundamental frequency only)

VSOLN.CSV (for harmonics)
Data Field

(starting from

the left)

Description


1

Harmonic number


2

Bus number


3

Voltage magnitude - per unit

4

Voltage phase angle (sine reference) - degrees


5

Nonlinear device load current magnitude -




per unit

6

Nonlinear device load current phase angle




(sine reference) - degrees


7

Bus name (at the first opportunity only)

ZBUS0.CSV, ZBUS1.CSV, ZBUS2.CSV (for harmonics and short circuit)
Data Field

(starting from

the left)

Description


1

Harmonic number


2

From bus number


3

To bus number


4

Impedance magnitude - per unit

5

Impedance phase angle - degrees


6

From bus name (at the first opportunity only)


7
To bus name (at the first opportunity only)

THDV.CSV (for harmonics)

Contains a list of bus numbers with their corresponding names and voltage distortions.

Example Screens for the _DFW Case
[image: image14.png]= PCFLO_V6 Interface. May 29, 2007. Dr. Mack Grady.

Messages

Input Extension Output Extension

[atw.cov cav Read Files

Lines with  Lines with
TooMany  TooFew
Commas  Commas

oAt | @ 0 0 [ Run PCFLO

Datalines TotalLines

Solion Type.
infie  inFie E—

£ 2 0 £
sy Copy Fies

ADAT
Harmeric Pawer
Arclyzer

SPECTRA B

OPTIONS M Z0AN Areyae

FloadLinear  Plosd Noriinear shunt

604 L G FAULTS
OPTIONS Fie Ttle  OPTIDNS Fil Soktion Type = [FullHamaric

27051200055 06-6.251,0667.15

Full Harmeric Soluion





[image: image15.png]! Solution Options

OPTIONS Fils Tile (Can Modiy Here)

€ Loadion
 Shor Cicut
& Full Hamaric Soluian

€ Hamoric Inpedance Scan

Bus 65 Start FQ Accel Volage FQ Highest  Hamonic  Giobal

Ordeiing Mismaich ~ Faclorfor  UpdateCap  Mismatch  Hamoric  LoadModel Linear

Methad forGS  GSSat  foGS  Tolrance forPD MotorLoad
Start Statt Loads,  Modeling

01234 Frachion

2 i 05 12 0005 5006 = i 0687

Giobal

Resitance

Daubling

Hamoric

5





[image: image16.png]= Harmonic Power Analyzer (PCFLO Postprocessor). May 5, 2007. MG

Data Type
G

BUSSES VSDLNJSOLN extension _CONNECTED BRANCHES (Select. Those with *are sunmed and reported below)

00001, SUAPTZSRVSL , 0.998, 8.7 A [+ 12, 40, 1,72z03/coNV oy als0 Vokage Tol Curent Tol
00002/ 2202 /6105 997, 8.7 12] 40 2]vzz2037c0M oy 4160 & a o 06T
000032203 /7948 996, 8.9% 12, s, 1.vzz03/cOMy  "."2203/7905

00004, 2203/7574 996, 8.9% Residual (linear load plus its harmonic modell, c o © ooon
0005 22038725 994, 9.1%

00006, 2203 /8236 992, 9.3% ooz  nooio

00007, 2203 /7800 992, 9.3%
000822037305 sz 9.3 NET CURRENT MAG, SINE SERIES

o005, 2203 /5252 952, 9.3 BUSVOLTAGE MAG, SINE SERIES FOR SELECTED BRANCHES Pl e

00010, 22038238 992, 9.3%
000112203 /5102 592 9.3t 03251250, 06079720, PH [2456.03

oz133010, 02431250, FH P
00013, 2204 /5522 957, a8t ey e 1272

O
00014, 2204/5275 397, 8.8% 05817080, 01702320, FOF [201E-02
00015, 2204 /4487 997, 8.8% 02051920, 01459130,

00016, 2204 /5417 996, 8.9 ¥ POF/PH [3072

Auto_pnalyze ety ) o ol g PO /VImed e [

{pu on system base)

Avelv1*ih) [575E08
0001, 1.968-01, L.00EF0D 0001, 1.408-01, L.00EF0D eS0T R

00005, ~3.438-04, ~L.758-03 0005, -1.958-03, -L.398-02 Avavh*i1) [133E06
00007, -1.278-04, 6. 45E-04 00007, -5.038-04, -3.558-03 N
00011] -5.628-04, -4.458-03 00011] -5.738-04, -6.238-03 Vims *Hims [Z47E-01

0013] -5.83E-04] -5 01E-03 o013) LlzlE-0s] el6zE-04
. . . . VHms [32E02
00017, -L.538-04] -7.79%-04 oo0L7, 2s7E-04, LsaE-03 S2E02

pHTOT, -2.458-03, -1.278-02 nror, -2.548-03 -2.108-02 IHims [726602
pa=0.0%

ps=0.1%

%@w@@ R I

Harmoric VaTage and Current . R R Distotion Frendy Power





Example Impedance Scan for Bus 3 of the _PC case

[image: image17.png]| ZSCAN)(PCFLO Postprocessor).

ZBUS(0.1) evension

Mar. 17, 2007. Dr. Mack Grady.

Messages and erors appear below

Read
ZBUS

BUSSES (Select o Flot)

Hamoric, ZMAG1, _ ZANG
024.10, 001.7047, -063.0 A
02420 oLl -0ealz
02430, 001 5275, -063.2
02440, 001 4451 -063.2
024 50, 001 3665, 063 2
024 60, 001 2514] 0631
024170, 001 2196, -062.5
024 80, 001 1508, -062.7
02450 0010850 06z 4
v
Hamoric, ZMAGD, _ ZANG
0z.10, 005.0z45, 0825 A
02320 ooslossa, oszls
02450, 005.0855, 0824
024 40, 005 1156, 0824
024 50, 005 1456, 0824
024 60, 005 1755 0824
024170, 005 2053, 0824
024 80, 005 2350, 0823
02450, 0052647, 0823

i

Casetle
peflo versio

LOG10(Z8US Mag pu)
1

215

ZBUS Angle





�





�





�





�








Page 1 of 24

_1241867870.xls
LDAT_HEADER

		:Line and Transformer Data																												Desired Voltage

		:																												at Voltage

		:																												Cont. Bus

		:																												(pu)								Connect.

		:						Positive		Positive		Pos/Neg														Voltage-		Voltage-		or Desired P		Zero		Zero		Zero		Type

		:						Sequence		Sequence		Sequence				Minimum		Maximum		Tap		Fixed		Phase		Cont.		Cont.		for		Sequence		Sequence		Sequence		for Trans.		Grouding		Grouding

		:From		To		Circuit		R		X		Charging		Rating		Tap		Tap		Step Size		Tap		Shift		Bus		Bus		Phase Shifter		R		X		Charging		and Shunt		R		X

		:Bus		Bus		Number		(pu)		(pu)		(%)		(%)		(pu)		(pu)		(pu)		(pu)		(Degrees)		Number		Side		(%)		(pu)		(pu)		(%)		Elements		(pu)		(pu)

		:(I)		(I)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(I)		(F)		(F)		(F)		(F)		(I)		(F)		(F)






_1241869591.xls
LDAT_HEADER

		:Line and Transformer Data																												Desired Voltage

		:																												at Voltage

		:																												Cont. Bus

		:																												(pu)								Connect.

		:						Positive		Positive		Pos/Neg														Voltage-		Voltage-		or Desired P		Zero		Zero		Zero		Type		Series		Series

		:						Sequence		Sequence		Sequence				Minimum		Maximum		Tap		Fixed		Phase		Cont.		Cont.		for		Sequence		Sequence		Sequence		for Trans.		Grounding		Grounding

		:From		To		Circuit		R		X		Charging		Rating		Tap		Tap		Step Size		Tap		Shift		Bus		Bus		Phase Shifter		R		X		Charging		and Shunt		R		X

		:Bus		Bus		Number		(pu)		(pu)		(%)		(%)		(pu)		(pu)		(pu)		(pu)		(Degrees)		Number		Side		(%)		(pu)		(pu)		(%)		Elements		(pu)		(pu)

		:(I)		(I)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(I)		(F)		(F)		(F)		(F)		(I)		(F)		(F)






_1241927519.xls
OPTIONS_HEADER_FULL_HARMONIC_SO

		Full Harmonic Solution Study Case - User Title Goes on This Line

		:Full Harmonic Solution Options

		:

		:														Harmonic Load Model

		:Optimal				P & Q		Accel.		Update				Highest		for PQ Linear Loads		Global

		:Bus				Mismatch		Factor		Cap		P & Q		Harmonic		0 or 1:  Resistive-only (recommended)		Linear		Global

		:Ordering		Gauss-		for Gauss-		for Gauss-		for Gauss-		Mismatch		of		2:  Parallel R & L Model		Motor		Resistance

		:Method		Seidel		Seidel		Seidel		Seidel		Solution		Interest		3:  Series R & L Model		Load		Doubling

		:(Integer)		Start?		Start		Start		Start		Tolerance		(Integer)		4:  Ignore PQ Loads (i.e. No Model)		Modeling		Harmonic

		:(1-2-3)		(T or F)		(0.5 pu)		(1.2 pu)		(0.005 pu)		(5E-06 pu)		(1 - 49)		(0 - 4)		Fraction		(I)

		:(I)		(L)		(F)		(F)		(F)		(F)		(I)		(I)		(F)		(I)

		2		T		0.5		1.2		0.005		5.00E-06		25		1		0		15






_1241927621.xls
OPTIONS_HEADER_HARMONIC_IMPEDAN

		Harmonic Impedance Scan Study Case - User Title Goes on This Line

		:Harmonic Impedance Scan

		:																														Harmonic Load Model

		:Optimal				P & Q		Accel.		Update				Lowest		Highest		Number		Limit the												for PQ Linear Loads		Global

		:Bus				Mismatch		Factor		Cap		P & Q		Harmonic		Harmonic		of Steps		Output to												0 or 1:  Resistive-only (recommended)		Linear		Global

		:Ordering		Gauss-		for Gauss-		for Gauss-		for Gauss-		Mismatch		of		of		per		Diagonal		Scan		and		and		and		and		2:  Parallel R,L Model		Motor		Resistance

		:Method		Seidel		Seidel		Seidel		Seidel		Solution		Interest		Interest		Harmonic		Elements		This		This		This		This		This		3:  Series R,L Model		Load		Doubling

		:(Integer)		Start?		Start		Start		Start		Tolerance		(Integer)		(Integer)		(Integer)		Only?		Bus		Bus		Bus		Bus		Bus		4:  Ignore PQ Loads (i.e., No Model)		Modeling		Harmonic

		:(1-2-3)		(T or F)		(0.5 pu)		(1.2 pu)		(0.005 pu)		(5E-06 pu)		(1 - 49)		(1 - 49)		(1 - 100)		(T or F)		(Integer)		(Integer)		(Integer)		(Integer)		(Integer)		(0 - 4)		Fraction		(I)

		:(I)		(L)		(F)		(F)		(F)		(F)		(I)		(I)		(I)		(L)		(I)		(I)		(I)		(I)		(I)		(I)		(F)		(I)






_1241927620.xls
OPTIONS_HEADER_HARMONIC_IMPEDAN

		Harmonic Impedance Scan Study Case - User Title Goes on This Line

		:Harmonic Impedance Scan

		:																														Harmonic Load Model

		:Optimal				P,Q		Accel.		Update				Lowest		Highest		Number		Limit the												for PQ Linear Loads		Global

		:Bus				Mismatch		Factor		Cap		P,Q		Harmonic		Harmonic		of Steps		Output to												0 or 1:  Resistive-only (recommended)		Linear		Global

		:Ordering		Gauss-		for Gauss-		for Gauss-		for Gauss-		Mismatch		of		of		per		Diagonal		Scan		and		and		and		and		2:  Parallel R & L Model		Motor		Resistance

		:Method		Seidel		Seidel		Seidel		Seidel		Solution		Interest		Interest		Harmonic		Elements		This		This		This		This		This		3:  Series R & L Model		Load		Doubling

		:(Integer)		Start?		Start		Start		Start		Tolerance		(Integer)		(Integer)		(Integer)		Only?		Bus		Bus		Bus		Bus		Bus		4:  Ignore PQ Loads (i.e. No Model)		Modeling		Harmonic

		:(1-2-3)		(T or F)		(0.5 pu)		(1.2 pu)		(0.005 pu)		(5E-06 pu)		(1 - 49)		(1 - 49)		(1 - 100)		(T or F)		(Integer)		(Integer)		(Integer)		(Integer)		(Integer)		(0 - 4)		Fraction		(I)

		:(I)		(L)		(F)		(F)		(F)		(F)		(I)		(I)		(I)		(L)		(I)		(I)		(I)		(I)		(I)		(I)		(F)		(I)






_1241927466.xls
OPTIONS_HEADER_LOADFLOW

		Loadflow Study Case - User Title Goes on This Line

		:Loadflow Solution Options

		:								Voltage										Disable

		:Optimal				P & Q		Accel.		Update				Disable						Transf.		Limit

		:Bus				Mismatch		Factor		Cap		P & Q		Remote		Disable		Ignore		Tap		Output		and		and		and		and

		:Ordering		Gauss-		for Gauss-		for Gauss-		for Gauss-		Mismatch		Volt. Reg.		Area		Q Limits		Adjust. for		to This		This		This		This		This

		:Method		Seidel		Seidel		Seidel		Seidel		Solution		by PV		Intrchnge		on PV		Voltage		Control		Control		Control		Control		Control

		:(Integer)		Start?		Start		Start		Start		Tolerance		Busses?		P Adjust?		Busses?		Control?		Area?		Area?		Area?		Area?		Area?

		:(1-2-3)		(T or F)		(0.5 pu)		(1.2 pu)		(0.005 pu)		(5E-06 pu)		(T or F)		(T or F)		(T or F)		(T or F)		(Integer)		(Integer)		(Integer)		(Integer)		(Integer)

		:(I)		(L)		(F)		(F)		(F)		(F)		(L)		(L)		(L)		(L)		(I)		(I)		(I)		(I)		(I)

		2		T		0.5		1.2		0.005		5.00E-06		F		F		F		F		0		0		0		0		0






_1241868036.xls
SPECTRA_HEADER

		:Harmonic Current Spectral Data

		:								Current

		:Type of						Current		Harmonic

		:Series		Nonlinear		Harmonic		Harmonic		Phase

		:(SIN or		Load		Order		Mag.		Angle

		:COS)		Type		(Integer)		(pu)		(Degrees)

		:(A)		(I)		(I)		(F)		(F)






_1241868365.xls
OPTIONS_HEADER_LOADFLOW

		Loadflow Study Case - User Title Goes on This Line

		:Loadflow Solution Options

		:								Voltage										Disable

		:Optimal				P,Q		Accel.		Update				Disable						Transf.		Limit

		:Bus				Mismatch		Factor		Cap		P,Q		Remote		Disable		Ignore		Tap		Output		and		and		and		and

		:Ordering		Gauss-		for Gauss-		for Gauss-		for Gauss-		Mismatch		Volt. Reg.		Area		Q Limits		Adjust. for		to This		This		This		This		This

		:Method		Seidel		Seidel		Seidel		Seidel		Solution		by PV		Intrchnge		on PV		Voltage		Control		Control		Control		Control		Control

		:(Integer)		Start?		Start		Start		Start		Tolerance		Busses?		P Adjust?		Busses?		Control?		Area?		Area?		Area?		Area?		Area?

		:(1-2-3)		(T or F)		(0.5 pu)		(1.2 pu)		(0.005 pu)		(5E-06 pu)		(T or F)		(T or F)		(T or F)		(T or F)		(Integer)		(Integer)		(Integer)		(Integer)		(Integer)

		:(I)		(L)		(F)		(F)		(F)		(F)		(L)		(L)		(L)		(L)		(I)		(I)		(I)		(I)		(I)

		2		T		0.5		1.2		0.005		5.00E-06		F		F		F		F		0		0		0		0		0






_1241868478.xls
OPTIONS_HEADER_SHORT_CIRCUIT

		Short Circuit Study Case - User Title Goes on This Line

		:Short Circuit Solution Options

		:Optimal

		:Bus

		:Ordering

		:Method		Enter T for Diagonal and Neighbor ZBUS Elements Only (recommended)

		:(Integer)		Enter F for All ZBUS Elements (not recommended and not to be followed by FAULTS)

		:(1-2-3)		(T or F)

		:(I)		(L)

		2		T






_1241867984.xls
ADAT_HEADER

		:Area Interchange Data

		:		Tie Line

		:		Loss

		:		Assignm.

		:		(1 for

		:		Splitting,				Desired		Solution

		:		0 for To		Control		Export		Tolerance

		:Area		Bus		Bus		Power		for Export		Area

		:Number		Ownership		Number		(%)		(%)		Name

		:(I)		(I)		(I)		(F)		(F)		(A)






_1241867617.xls
BDAT_HEADER

		:Bus Data																																										Grounding		Grounding

		:																										Connection		Positive		Positive		Negative		Negative		Zero		Zero				Impedance		Impedance		Nonlinear		Nonlinear		Nonlinear

		:						Linear		Linear		Linear		Linear				Shunt		Maximum		Minimum						Type for		Sequence		Sequence		Sequence		Sequence		Sequence		Sequence		Connection		R for		X for		Device		Device		Device				Nonlinear		Linear

		:						P		Q		P		Q		Desired		Reactive		Q		Q		Bus		Remote-		Shunt		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Type for		Subtransient		Subtransient		P		P		Displacement		Nonlinear		Device		Load

		:Bus		Bus		Bus		Generation		Generation		Load		Load		Voltage		Q Load		Generation		Generation		Control		Controlled		Reactive		R		X		R		X		R		X		Subtransient		Impedances		Impedances		Gen		Load		Power Factor		Device		Phase Shift		Connection

		:Number		Name		Type		(%)		(%)		(%)		(%)		(pu)		(%)		(%)		(%)		Area		Bus No.		Q Load		(pu)		(pu)		(pu)		(pu)		(pu)		(pu)		R and X		(pu)		(pu)		(%)		(%)		(pu)		Type		(Degrees)		Type

		:(I)		(A)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(I)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(I)






_1241867644.xls
BDAT_HEADER

		:Bus Data																																										Grounding		Grounding

		:																										Connection		Positive		Positive		Negative		Negative		Zero		Zero				Impedance		Impedance		Nonlinear		Nonlinear		Nonlinear

		:						Linear		Linear		Linear		Linear				Shunt		Maximum		Minimum						Type for		Sequence		Sequence		Sequence		Sequence		Sequence		Sequence		Connection		R for		X for		Device		Device		Device				Nonlinear		Linear

		:						P		Q		P		Q		Desired		Reactive		Q		Q		Bus		Remote-		Shunt		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Type for		Subtransient		Subtransient		P		P		Displacement		Nonlinear		Device		Load

		:Bus		Bus		Bus		Generation		Generation		Load		Load		Voltage		Q Load		Generation		Generation		Control		Controlled		Reactive		R		X		R		X		R		X		Subtransient		Impedances		Impedances		Gen		Load		Power Factor		Device		Phase Shift		Connection

		:Number		Name		Type		(%)		(%)		(%)		(%)		(pu)		(%)		(%)		(%)		Area		Bus No.		Q Load		(pu)		(pu)		(pu)		(pu)		(pu)		(pu)		R and X		(pu)		(pu)		(%)		(%)		(pu)		Type		(Degrees)		Type

		:(I)		(A)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(I)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(I)






_1241867581.xls
BDAT_HEADER

		:Bus Data																																										Grounding		Grounding

		:																										Connection		Positive		Positive		Negative		Negative		Zero		Zero				Impedance		Impedance		Nonlinear		Nonlinear		Nonlinear

		:						Linear		Linear		Linear		Linear				Shunt		Maximum		Minimum						Type for		Sequence		Sequence		Sequence		Sequence		Sequence		Sequence		Connection		R for		X for		Device		Device		Device				Nonlinear		Linear

		:						P		Q		P		Q		Desired		Reactive		Q		Q		Bus		Remote-		Shunt		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Subtransient		Type for		Subtransient		Subtransient		P		P		Displacement		Nonlinear		Device		Load

		:Bus		Bus		Bus		Generation		Generation		Load		Load		Voltage		Q Load		Generation		Generation		Control		Controlled		Reactive		R		X		R		X		R		X		Subtransient		Impedances		Impedances		Gen		Load		Power Factor		Device		Phase Shift		Connection

		:Number		Name		Type		(%)		(%)		(%)		(%)		(pu)		(%)		(%)		(%)		Area		Bus No.		Q Load		(pu)		(pu)		(pu)		(pu)		(pu)		(pu)		R and X		(pu)		(pu)		(%)		(%)		(pu)		Type		(Degrees)		Type

		:(I)		(A)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(I)		(I)		(F)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(F)		(F)		(F)		(F)		(I)		(F)		(I)






